## Instructions
Instructions
The purpose of this Installation Planner is to collect all information required to plan for and complete the installation of Remote Advisor. Please complete all fields in the Contact Information, Gateway PC, and ChemStation Agilent Instruments, Distributed Agilent Instruments, or Distributed Waters instruments.Information worksheets. Complete one Installation Planner for each Gateway to be installed. One Installation Planner should be completed for each Remote Advisor Gateway. One Gateway is to be installed for each 50 instruments.
Contact Information Worksheet Company Name and Location This information is used to configure the Enterprise Server at installation time and for parts shipment. Company Name: Exact way you want the company name. Name of Location: Name of the location or laboratory for the instruments that will be connected to the Gateway. Complete all address information. Contact Information Complete all information for a Laboratory and IT contacts. Shipping Information Complete all information.
Gateway PC Information Worksheet Gateway PC Installation Information: Select the Gateway PC option Gateway PC Name: Name used for Agilent to install the Gateway Complete only the white cells Proxy Settings Proxy Server or Script Address: Complete with proxy server name, IP address, or script address. Type “No Proxy” if a proxy server is not used. Proxy Server Port: Port number for the Proxy Server
ChemStation Agilent Instruments Worksheet The ChemStation Agilent Instruments worksheet is used to plan the installation of Remote Advisor for Agilent instruments connected to ChemStation or other CDS where the Remote Advisor Data Source software will be installed on the same PC that is controlling the instruments. Complete one line for each instrument
Distributed Agilent Instruments Open Lab, Cerity, and Cerity ECM are examples of Agilent Distributed Data Systems used for instrument control. Other vendor’s data systems, such as Empower, Chromeleon, and Atlas, may also be used to control Agilent instruments. Agilent Remote Advisor communicates to instruments connected to such distributed systems by using a Standalone Data Source. The Data Source agent is installed on a standalone PC and not installed on the data system PC. Complete one Line for Each Instrument
Distributed Waters Instruments Remote Advisor will monitor Waters HPLCs by Waters Empower. The Distributed Waters Systems Worksheet is used to plan the configuration of Remote Advisor for Waters HPLCs. Complete the Waters Empower information Complete one line for each instrument
User Defined Systems User Defined systems are instrument systems that do not automatically extract diagnostic and status information from instruments. These systems are configured in Remote Advisor to provide Remote Assist and Remote Collaboration capability for systems under a service contract with Agilent. Complete one line for each instrument
Installation Summary Worksheet The installation Summary is a summary of all the information required to install Remote Advisor. The Summary Worksheet can be printed and used as a guide during installation.
Printing Print from the Installation Summary worksheet. The Installation Summary worksheet is formatted for printing. Select the Installation Summary worksheet to print configuration information.

## Contact Information
Rev A.02.09.002
Customer Instructions: Please complete only the fields that are white.
Company Name and Location
|  | Location | Shipping
| Company Name | 0 | 0
| Name of Location | 0 | 0
| Address Line 1 | 0 | 0
| Address Line 2 | 0 | 0
| City | 0 | 0
| State or Province | 0 | 0
| Postal Code | 0 | 0
| Country | 0 | 0
0
Contact Information
Laboratory Contact
Name
Telephone Number
Alternate Telephone Number
Email Address
IT Contact
Name
Telephone Number
Alternate Telephone Number
Email Address
Shipping Information
Company Name
Contact Name
Contact Telephone Number
Address Line 1
Address Line 2
City
State or Province
Postal Code
Country

## Gateway PC
Rev A.02.09.002
Customer Instructions: Please complete only the fields that are white.
Gateway PC Configuration Information
| Gateway PC Installation Information | Select One | Gateway PC Information | Test if Agilent Supplies GW PC | Network Configuration | Deployment Type | Network Topology Type
| Gateway PC Name |  |  | FALSE
| Network Topolgy Type | Select One
|  | Gateway Network Interface Configuration | Select One |  | Select One | Select One | Select One
| Network Interface Configuration | Select One | Customer supplies and installs the Gateway PC |  | DHCP | Deploy a New Customer | All in One Network
| IP Address |  | Agilent supplies the Gateway PC, customer images and installs the PC on the network |  | Static IP Address | Deploy a New Gateway and New Location of an Existing Customer | Segmented Network
| Subnet Mask |  | Agilent supplies and installs the Gateway PC on the network |  | Not Used | Deploy a New Gateway at an Existing Location of an Existing Customer | Isolated Laboratory Network
Default Gateway IP address
| Preferred DNS Server IP address |  | Select One |  |  |  | Requires additional network interface in Gateway PC
| Alternate DNS Server IP address |  | Agilent supplies the Gateway PC, customer images and installs the PC on the network
| Preferred WINS Server IP address |  | Agilent supplies and installs the Gateway PC on the network
Alternate WINS Server IP address
| Proxy Settings | The Gateway uses the Proxy Server to communicate through the firewall. These proxy settings are the same settings applied to a web browser.
Proxy Server or Script Address
Proxy Server Port
Gateway Controller Configuration
SMTP Email Server address or URL
Administrator Email Address
Email From Address
Audit Log Days

## ChemStation Agilent Instruments
Rev A.02.09.002
Customer Instructions This workbook is used to plan the configuration of Remote Advisor where the Data Source software will be installed on the PC controlling the instrument. Please complete all white fields starting with Index 1. Use one index row for each instrument or system. Navigate with the arrow keys. Configuration status is displayed in the Configuration Status column. Please verify that all instruments have a Configuration Complete status. column. Please verify that all instruments have a Configuration Complete status.
[33 empty] | 0 | 0
[11 empty] | Lookup Table for RS232 Cable | [22 empty] | copy 6 to all cells
| Index | Instrument Name | Supported Instrument Type | PC Port to Instrument Connection | PC Name | PC Operating System | PC Memory | Required Parts | Configuration Status | Comments | Supported Instrument Type | Requires RS232 Cable | Dupliate Instrument Name | Instrument Type | Quantity Installed | PC Port to Instrument Connection | Part Numbers | Parts Required | Duplicate Instrument Name | Check if Yes for RS232 | If Yes Select One | If Yes Comm Port | If Yes USB | If Yes No Port available | PC Name Check | PC Operating System | PC Memory | Parts List | No Parts Check | Parts Calculation | Config Started =1 | Complete =2 | Complet Duplicate PC =3 | Duplicate Inst. =4 | Com & Dup PC Not Avail =5 | Port Check =6 | Mem Check =7 | OS =8 | Satatus | Configuration Status |  | Configuration Status Messages
| 1 |  | Select One |  |  | Select One | Select One |  |  |  | Select One | No | 0 | Agilent LC | 0 | Select One | Port type not selected |  | FALSE | No |  |  |  |  | 0 | Select One | Select One |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Incomplete | Configuration started but not complete. Complete all items in this row.
| 2 |  | Select One |  |  | Select One | Select One |  |  |  | Agilent LC | Yes | 0 | Agilent LC with G1315C/D, G1314D/E, or G1365C/D Detector | 0 | Comm Port | G1530-60600 6'/1.83M or 5190-2244 15'/ 4.57M RS-232 Null Modem cable | 0 | FALSE | No |  |  |  |  | 0 | XP PRO SP1 | Less than 512 MB | G1530-60600 RS-232 Null Modem cable | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Complete | Configuration is complete.
| 3 |  | Select One |  |  | Select One | Select One |  |  |  | Agilent LC with G1315C/D, G1314D/E, or G1365C/D Detector | No | 0 | 1120/1220 Compact LC | 0 | USB Port | 8121-1013 USB to RS-232 cable + G1530-60600 RS-232 Null Modem cable | 0 | FALSE | No |  |  |  |  | 0 | XP PRO SP2 | 512 MB | 8121-1013 USB to RS-232 cable G1530-60600 RS-232 Null Modem cable | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Complete Dup PC | Configuration Complete. This PC connects to multiple instruments.
| 4 |  | Select One |  |  | Select One | Select One |  |  |  | 1120/1220 Compact LC | No | 0 | Agilent Single Quad LCMS | 0 | No Port Available | G1680-63722 RS-232 LAN Converter + 8121-0008 LAN cable (4.26M) | 0 | FALSE | No |  |  |  |  | 0 | XP PRO SP3 | 1 GB or Greater | G1680-63722 RS-232 LAN Converter 8121-0008 LAN cable (4.26M) | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Duplicate Instrument | Duplicate Instrument Name
| 5 |  | Select One |  |  | Select One | Select One |  |  |  | Agilent Single Quad LCMS with Agilent LC | Yes | 0 | QQQ G6410/6460 | 0 | No Parts | No parts are required for this connection | 0 | FALSE | No |  |  |  |  | 0 | Win 2K SP4 |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Complete Dup PC NA | Configuration Complete. Requires an RS232/ LAN converter.
| 6 |  | Select One |  |  | Select One | Select One |  |  |  | Agielnt Single Quad LCMS with Agilent LC with G1315C, G1314D, G1365C or > Detector | No | 0 | 6850 GC | 0 |  |  |  | FALSE | No |  |  |  |  | 0 | Vista SP1 |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Port Check | Please choose a port type for the instrument connection.
| 7 |  | Select One |  |  | Select One | Select One |  |  |  | Agilent Single Quad LCMS with other vendor's LC | No | 0 | 5973N or 5975 MS | 0 |  |  |  | FALSE | No |  |  |  |  | 0 | Windows 7 |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Mem Check | Remote Advisor cannot be installed. 512MB RAM is required.
| 8 |  | Select One |  |  | Select One | Select One |  |  |  | QQQ G6410 - 64690 with Agilent LC | Yes | 0 | 6890 Networked GC | 0 |  |  |  | FALSE | No |  |  |  |  | 0 | Other |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | OS Check | XP PRO SP 1 and “Other” Operating Systems are not supported.
| 9 |  | Select One |  |  | Select One | Select One |  |  |  | QQQ G6410 - G6490 with Agilent LC with G1315C, G1314D, G1365C or > Detector | No | 0 | 7890 GC | 0 |  |  |  | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10 |  | Select One |  |  | Select One | Select One |  |  |  | QQQ G6410 - G6490 with other Vendor's LC | No | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 11 |  | Select One |  |  | Select One | Select One |  |  |  | 6850 GC | Yes | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 12 |  | Select One |  |  | Select One | Select One |  |  |  | 6850 GC with 5973N or 5975 MS | Yes | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 13 |  | Select One |  |  | Select One | Select One |  |  |  | 6890 Networked GC | Yes | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 14 |  | Select One |  |  | Select One | Select One |  |  |  | 6890 Networked GC with 5973N or 5975 MS | Yes | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 15 |  | Select One |  |  | Select One | Select One |  |  |  | 7890 GC | No | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 16 |  | Select One |  |  | Select One | Select One |  |  |  | 7890 with 5973N, 5975 GC/MS, G7000 Series QQQ | No | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 17 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 18 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 19 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 20 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 21 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 22 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 23 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 24 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 25 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 26 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 27 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 28 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 29 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 30 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 31 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 32 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 33 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 34 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 35 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 36 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 37 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 38 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 39 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 40 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 41 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 42 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 43 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 44 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 45 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 46 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 47 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 48 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 49 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 50 |  | Select One |  |  | Select One | Select One | [5 empty] | 0 | [5 empty] | FALSE | No |  |  |  |  | 0 |  |  |  | FALSE |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 51 | [6 empty] | Parts are not calculated until configuration is complete | Configuration started but not complete. Complete all items in this row. | [15 empty] | 0 |  |  |  | FALSE | Parts are not calculated until configuration is complete | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Configuration started but not complete. Complete all items in this row.
| 52 | [6 empty] | Parts are not calculated until configuration is complete | Configuration started but not complete. Complete all items in this row. | [15 empty] | 0 |  |  |  | FALSE | Parts are not calculated until configuration is complete | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Configuration started but not complete. Complete all items in this row.
| 53 | [6 empty] | Parts are not calculated until configuration is complete | Configuration started but not complete. Complete all items in this row. | [15 empty] | 0 |  |  |  | FALSE | Parts are not calculated until configuration is complete | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Configuration started but not complete. Complete all items in this row.
| 54 | [6 empty] | Parts are not calculated until configuration is complete | Configuration started but not complete. Complete all items in this row. | [15 empty] | 0 |  |  |  | FALSE | Parts are not calculated until configuration is complete | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Configuration started but not complete. Complete all items in this row.
| 55 | [6 empty] | Parts are not calculated until configuration is complete | Configuration started but not complete. Complete all items in this row. | [15 empty] | 0 |  |  |  | FALSE | Parts are not calculated until configuration is complete | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Configuration started but not complete. Complete all items in this row.
| 56 | [6 empty] | Parts are not calculated until configuration is complete | Configuration started but not complete. Complete all items in this row. | [15 empty] | 0 |  |  |  | FALSE | Parts are not calculated until configuration is complete | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Configuration started but not complete. Complete all items in this row.

## Distributed Agilent Instruments
Rev A.02.09.002
Customer Instructions This workbook is used to plan the installation of Remote Advisor when a Standalone Data Source is used. The Standalone Data Source communicates to instruments through an RS232 to LAN Converter, Bluetooth Gateway, or certain Agilent LCs and GCs connected to the LAN. Bluetooth to instrument connectivity is an option available for installations of 12 or more systems that are within 150 ft or 45 meters of the Bluetooth Gateway. The Bluetooth Gateway connects to the LAN or to a second NIC in the Data Source PC. Installation of the Bluetooth Gateway should be stratigecally placed. Please complete one line for each instrument. Cell turn grey when the cell input is not required. Data Source PC requirements: 1 GB or greater RAM, Windows XP SP3, Windows Vista SP 1, Windows 7, Windows Server 2008 R2
Configuration Complete Check
| Index | Instrument Name | Supported Instrument Type | PC Name | Use Bluetooth Connection to Instrument? | Will the instrument be within 150 ft//45 M of the Bluetooth Gateway? | Required Parts | Configuration Status | Comments | Supported Instrument Type | Need Converter? | Duplicate Instrument Name Check | Quantity Installed | Yes or No | If Not 78xx Select One | If Not 7890 Yes | If Not 78xx Yes | If Bluetooth Select | If Bluetooth Yes | If Bluetooth No | Install Bluetooth | Instrument Count | Check Blank Cell | No Duplicate Name | Don't Need Adapter | Bluetooth connection | In Range | Config Started =1 | Config Complete =2 | Duplicate Instrument =3 | Bluetooth Go =4 | Bluetooth not in range =5 | Bluetooth <12 isnt =6 | Complete 78xx =7 | Status | Configuration Status |  | Configuration Status Messages | Part Calculated |  | Parts Numbers | Quantity Required
| 1 |  | Select One |  | Select One |  |  |  |  | Select One | no | 0 |  | Select One | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Incomplete | Configuration started but not complete. Please complete all configuration items for this Instrument. |  | 1 | Parts are not calculated until configuration is complete
| 2 |  | Select One |  | Select One |  |  |  |  | Agilent LC | no | 0 | 0 | Yes | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Complete | Configuration is complete using RS232 to LAN converter for the instrument connection. |  | 2 | G1680-63722 RS-232 LAN Converter 8121-0008 LAN cable (4.26M) | 0
| 3 |  | Select One |  | Select One |  |  |  |  | Agilent 6850 Networked GC | no | 0 | 0 | No | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Duplicate Instrument | Duplicate Instrumeant name. Please correct the instrument name. |  | 3 | G1680-63722 RS-232 LAN Converter 8121-0008 LAN cable (4.26M) | 0 | Gxxxx-xxxxx Bluetooth Serial Converter
| 4 |  | Select One |  | Select One |  |  |  |  | Agilent 6890 Networked GC | no | 0 | 0 | N/A | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bluetooth Go | Configuration is complete and qualifies for Bluetooth |  | 4 | 5067-0270 Bluetooth Serial Converter | 0 | G1680-63722 RS-232 LAN Converter 8121-0008 LAN cable (4.26M)
| 5 |  | Select One |  | Select One |  |  |  |  | Agilent 7890 GC Connected to the LAN | no | 0 | 0 |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bluetooth Out of Range | Configuration is complete but DOES NOT qualify for Bluetooth. This instrument is not within the tested the range. An RS232 to LAN converter will be used. |  | 5 | G1680-63722 RS-232 LAN Converter 8121-0008 LAN cable (4.26M) | 0
| 6 |  | Select One |  | Select One |  |  |  |  | Agilent 7890B GC | no | 0 | 0 |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bluetooth <12 Inst | Configuration is complete but DOES NOT qualify for Bluetooth. Bluetooth requires 12 or more instruments for installation. An RS232 LAN to converter will be used. |  | 6 | G1680-63722 RS-232 LAN Converter 8121-0008 LAN cable (4.26M)
| 7 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | G78xx | Configuration is complete. G78xx uses existing LAN connection. |  | 7 | No Parts Required
| 8 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 11 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 12 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 13 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 14 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 15 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 16 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 17 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 18 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 19 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 20 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 21 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 22 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 23 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 24 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 25 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 26 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 27 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 28 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 29 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 30 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 31 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 32 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 33 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 34 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 35 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 36 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 37 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 38 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 39 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 40 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 41 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 42 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 43 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 44 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 45 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 46 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 47 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 48 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 49 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 50 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 51 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 52 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 53 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 54 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 55 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 56 |  | Select One |  | Select One | [5 empty] | no | 0 |  |  | Select One | Yes | No |  |  |  | FALSE | 0 | FALSE | TRUE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Distributed Waters Instruments
Rev A.02.09.002
Customer Instructions This worksheet is used to plan the installation to connect Waters Alliance and ACQUITY systems to Remote Advisor. Please complete the Empower information. Empower username and password with Guest privileges is required to for configuration of the Remote Advisor Data Source. The Empower username and password are optional for this worksheet but are required for installation. List all System names and the node name of the Lace for the system.
|  | Empower Database Name | Empower (Remote Advisor) Project Name | Empower Usurname (optional) Required for installation | Empower Password (optional) Required for installation | Configuration Status |  | Data Base Name | Project Name
|  | Enter Database Name if using Empower Toolkit | Enter Project Name if using Empower Toolkit |  |  |  |  | Enter Database Name if using Empower Toolkit | Enter Project Name if using Empower Toolkit
[8 empty] | Config Started =1 | Config Complete =2 | Config Complete No un/pw =3 | Duplicate Instrument =4 | Uses Empower Toolikit =5 | Config Status | Duplicate Instrument Test | HPLC Type | Part Numbers | Part Required | Configuration Status | Configuration Status Message | Configuration Status Message | Number of Systems
| Index | Waters HPLC and Connecton Type | Instrument Name | Empower Node Name (Lace) Used with Empower Toolkit Connection | Required Parts | Configuration Status | Comments | 0 | 0 | 0 |  |  | 0 |  | ACQUITY - File Mover | No Parts Required |  |  |  |  | All Completed Configurations | 0
| 1 | [6 empty] | 0 | 0 |  | 0 | 0 | 0 | 0 | ACQUITY - Uses Empower Toolkit | No Parts Required | #N/A |  |  | Configuration started but not complete. Please complete all configuration items. | Alliance-RS232 Bluetooth | 0
| 2 | [6 empty] | 0 | 0 |  | 0 | 0 | 0 | 0 | Alliance - RS232 using Bluetooth | 5067-0270 USB Adapter + 5190-6188 Gender Changer | #N/A |  |  | Configuration is complete. | Acquity - File Mover | 0
| 3 | [6 empty] | 0 | 0 |  | 0 | 0 | 0 |  | Alliance - Uses Empower Toolkit | No Parts Required |  |  |  | Configuration is complete. Username and Password required at installation. | Acquity Empower Toolkit | 0
| 4 | [6 empty] | 0 | 0 |  | 0 | 0 | 0 | [6 empty] | Duplicate System Name. Parts not Calculated | Alliance Empower Toolkit | 0
| 5 | [6 empty] | 0 | 0 |  | 0 | 0 | 0 | [6 empty] | Node Name required when connecting Empower Toolkit
| 6 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 7 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 8 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 9 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 10 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 11 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 12 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 13 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 14 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 15 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 16 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 17 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 18 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 19 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 20 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 21 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 22 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 23 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 24 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 25 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 26 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 27 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 28 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 29 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 30 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 31 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 32 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 33 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 34 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 35 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 36 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 37 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 38 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 39 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 40 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 41 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 42 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 43 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 44 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 45 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 46 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 47 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 48 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 49 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 50 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 51 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 52 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 53 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 54 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 55 | [6 empty] | 0 | 0 |  | 0 | 0 | 0
| 56 | [6 empty] | 0 | 0 |  | 0 | 0 | 0

## User Defined Systems
Rev A.02.09.002
Customer Instructions This worksheet is used to plan the installation to configure User Defines systems in Remote Advisor. Please complete the System Name, System Type, and Manufacturer columns for each system. Select a System Type and Manufacturer from the combo box. Type the System Type or Manufacturer in the combo box if a match in the list is not found.
Test if column is used
| Index | System Name | System Type | Manufacturer | Description | System Type | Manufacturer | Column C | Column D | Column D |  | Total Complete | Configured Complete
| 1 | [6 empty] | C | D | E | Complete Columns | 0 | Not Started
| 2 |  |  |  |  | LC | ABI | C | D | E |  |  | Not Started
| 3 |  |  |  |  | LCMS | Agilent | C | D | E |  |  | Not Started
| 4 |  |  |  |  | GC | Biorad | C | D | E |  |  | Not Started
| 5 |  |  |  |  | GCMS | Buchi | C | D | E |  |  | Not Started
| 6 |  |  |  |  | Atomic Absorption | CTC | C | D | E |  |  | Not Started
| 7 |  |  |  |  | ICP-OES | Dionex | C | D | E |  |  | Not Started
| 8 |  |  |  |  | ICP-MS | Distek | C | D | E |  |  | Not Started
| 9 |  |  |  |  | Dissolution/UV-Vis | GE | C | D | E |  |  | Not Started
| 10 |  |  |  |  | NMR | Gilson | C | D | E |  |  | Not Started
| 11 | [5 empty] | Grace Davidson | C | D | E |  |  | Not Started
| 12 | [5 empty] | Hitachi | C | D | E |  |  | Not Started
| 13 | [5 empty] | PerkinElmer | C | D | E |  |  | Not Started
| 14 | [5 empty] | Shimadzu | C | D | E |  |  | Not Started
| 15 | [5 empty] | Teledyne-ISCO | C | D | E |  |  | Not Started
| 16 | [5 empty] | Thermo | C | D | E |  |  | Not Started
| 17 | [5 empty] | Varian | C | D | E |  |  | Not Started
| 18 | [5 empty] | Waters | C | D | E |  |  | Not Started
| 19 | [6 empty] | C | D | E |  |  | Not Started
| 20 | [6 empty] | C | D | E |  |  | Not Started
| 21 | [6 empty] | C | D | E |  |  | Not Started
| 22 | [6 empty] | C | D | E |  |  | Not Started
| 23 | [6 empty] | C | D | E |  |  | Not Started
| 24 | [6 empty] | C | D | E |  |  | Not Started
| 25 | [6 empty] | C | D | E |  |  | Not Started
| 26 | [6 empty] | C | D | E |  |  | Not Started
| 27 | [6 empty] | C | D | E |  |  | Not Started
| 28 | [6 empty] | C | D | E |  |  | Not Started
| 29 | [6 empty] | C | D | E |  |  | Not Started
| 30 |  |  |  |  | 2 |  | C | D | E |  |  | Not Started
| 31 | [6 empty] | C | D | E |  |  | Not Started
| 32 | [6 empty] | C | D | E |  |  | Not Started
| 33 | [6 empty] | C | D | E |  |  | Not Started
| 34 | [6 empty] | C | D | E |  |  | Not Started
| 35 | [6 empty] | C | D | E |  |  | Not Started
| 36 | [6 empty] | C | D | E |  |  | Not Started
| 37 | [6 empty] | C | D | E |  |  | Not Started
| 38 | [6 empty] | C | D | E |  |  | Not Started
| 39 | [6 empty] | C | D | E |  |  | Not Started
| 40 | [6 empty] | C | D | E |  |  | Not Started
| 41 | [6 empty] | C | D | E |  |  | Not Started
| 42 | [6 empty] | C | D | E |  |  | Not Started
| 43 | [6 empty] | C | D | E |  |  | Not Started
| 44 | [6 empty] | C | D | E |  |  | Not Started
| 45 | [6 empty] | C | D | E |  |  | Not Started
| 46 | [6 empty] | C | D | E |  |  | Not Started
| 47 | [6 empty] | C | D | E |  |  | Not Started
| 48 | [6 empty] | C | D | E |  |  | Not Started
| 49 | [6 empty] | C | D | E |  |  | Not Started
| 50 | [6 empty] | C | D | E |  |  | Not Started
| 51 | [6 empty] | C | D | E |  |  | Not Started
| 52 | [6 empty] | C | D | E |  |  | Not Started
| 53 | [6 empty] | C | D | E |  |  | Not Started
| 54 | [6 empty] | C | D | E |  |  | Not Started
| 55 | [6 empty] | C | D | E |  |  | Not Started
| 56 | [6 empty] | C | D | E |  |  | Not Started
[8 empty] | C | D | E |  |  | Not Started
[8 empty] | C | D | E |  |  | Not Started
[8 empty] | C | D | E |  |  | Not Started
[8 empty] | C | D | E |  |  | Not Started

## Installation Summary
Rev A.02.09.002 | Rev A.02.09.002
Gateway Software Installation Information
| Instrument Type | Number to Install | Part Numbers | Quantity Required |  |  |  | Gateway PC Configuration Information |  |  | Index | Data Source Name | Instrument Name | Instrument Type | PC Port to Instrument | Configuration Status | Required Parts | Comments | Index | Data Source Name | Instrument Name | Instrument Type | PC Port to Instrument | Configuration Status | Required Parts | Comments | Index | Data Source Name | Instrument Name | Instrument Type | Required Parts | Configuration Status | Comments | Index | Data Source Name | Instrument Name | Instrument Type | Required Parts | Configuration Status | Comments |  | Empower Database Name | Empower (Remote Advisor) Project Name | Empower Usurname (optional) Required for installation | Empower Password (optional) Required for installation |  | Index | Waters Alliance or Acuity System Name | Empower Node Name (Lace) | Configuration Status | Comments | Index | System Name | System Type | Manufacturer | Comments | Index | System Name | System Type | Manufacturer | Comments
| 1100 or 1200 LC | 0 | G1530-60600 6'/1.83M or 5190-2244 15'/ 4.57M RS-232 Null Modem cable | 0 | Gateway Installation: Axeda Policy Server Information |  |  | Gateway PC Information | Select One |  | 1 | [7 empty] | 26 | [7 empty] | 1 | [6 empty] | 29 | [7 empty] | Enter Database Name if using Empower Toolkit | Enter Project Name if using Empower Toolkit |  |  |  | 29 |  |  |  |  | 1 |  |  |  |  | 29
| 1100 or 1200 LC with G1315C/D, G1314D/E, or G1365C/D Detector | 0 | 8121-1013 USB to RS-232 cable | 0 | SMTP Email Server Address or URL |  |  | Gateway PC Name |  |  | 2 | [7 empty] | 27 | [7 empty] | 2 | [6 empty] | 30 | [6 empty] | Index | Waters Alliance or Acuity System Name | Empower Node Name (Lace) | Configuration Status | Comments |  | 30 |  |  |  |  | 2 |  |  |  |  | 30
| 1120/1220 Compact LC | 0 | G1680-63722 RS-232 LAN Converter | 0 | Email Adddress to Send to |  |  | Network Topology Type | Select One |  | 3 | [7 empty] | 28 | [7 empty] | 3 | [6 empty] | 31 | [6 empty] | 1 | [5 empty] | 31 |  |  |  |  | 3 |  |  |  |  | 31
| Agilent Single Quad LCMS | 0 | 8121-0008 LAN cable (4.26M) | 0 | Email From Adddress | [5 empty] | 4 | [7 empty] | 29 | [7 empty] | 4 | [6 empty] | 32 | [6 empty] | 2 | [5 empty] | 32 |  |  |  |  | 4 |  |  |  |  | 32
| Agilent QQQ LCMS G6410A/B | 0 | 5067-0270 Bluetooth Serial Adapter with AC Power Supply or 5067-0273 Bluetooth Serial Adapter with USB Power cable | 0 | Audit Log Days | [5 empty] | 5 | [7 empty] | 30 | [7 empty] | 5 | [6 empty] | 33 | [6 empty] | 3 | [5 empty] | 33 |  |  |  |  | 5 |  |  |  |  | 33
| 6850 GC | 0 | 5190-6188 Gender Changer used with Bluetooth Adapter for Alliance | 0 | Gateway Installation: Deployment Proxy Server Information | [5 empty] | 6 | [7 empty] | 31 | [7 empty] | 6 | [6 empty] | 34 | [6 empty] | 4 | [5 empty] | 34 |  |  |  |  | 6 |  |  |  |  | 34
| 6890 Networked GC | 0 | 5067-0269 28 Port Bluetooth Access Gateway | 0 | Proxy Server or Script Address | [5 empty] | 7 | [7 empty] | 32 | [7 empty] | 7 | [6 empty] | 35 | [6 empty] | 5 | [5 empty] | 35 |  |  |  |  | 7 |  |  |  |  | 35
| 7890 GC | 0 | R1855-64000 Remote Advisor Software | 1 | Proxy Server Port | [5 empty] | 8 | [7 empty] | 33 | [7 empty] | 8 | [6 empty] | 36 | [6 empty] | 6 | [5 empty] | 36 |  |  |  |  | 8 |  |  |  |  | 36
| 5973N or 5975 GCMS | 0 | R1855A Remote Advisor Gateway start up service (PC & SW) | 0 | Gateway Installation: Deployment Customer and Location Information | [5 empty] | 9 | [7 empty] | 34 | [7 empty] | 9 | [6 empty] | 37 | [6 empty] | 7 | [5 empty] | 37 |  |  |  |  | 9 |  |  |  |  | 37
| Alliance RS232 using Bluetooth | 0 |  |  | Company Name | [5 empty] | 10 | [7 empty] | 35 | [7 empty] | 10 | [6 empty] | 38 | [6 empty] | 8 | [5 empty] | 38 |  |  |  |  | 10 |  |  |  |  | 38
| ACQUITY - File Mover | 0 | Power Sockets Required for Installation | Quantity Required | Name of Location | [5 empty] | 11 | [7 empty] | 36 | [7 empty] | 11 | [6 empty] | 39 | [6 empty] | 9 | [5 empty] | 39 |  |  |  |  | 11 |  |  |  |  | 39
| Waters ACQUITY and Alliance Using Empower Toolkit | 0 | RS-232 to LAN Converter | 0 | Address Line 1 | [5 empty] | 12 | [7 empty] | 37 | [7 empty] | 12 | [6 empty] | 40 | [6 empty] | 10 | [5 empty] | 40 |  |  |  |  | 12 |  |  |  |  | 40
| User Defined Systems | 0 | Bluetooth Adapter | 0 | Address Line 2 | [5 empty] | 13 | [7 empty] | 38 | [7 empty] | 13 | [6 empty] | 41 | [6 empty] | 11 | [5 empty] | 41 |  |  |  |  | 13 |  |  |  |  | 41
| Total Instruments to Install | 0 | Gateway PC Computer and Monitor | 0 | City | [5 empty] | 14 | [7 empty] | 39 | [7 empty] | 14 | [6 empty] | 42 | [6 empty] | 12 | [5 empty] | 42 |  |  |  |  | 14 |  |  |  |  | 42
| Total Systems to Install | 0 | Total Power Sockets Required | 0 | State or Province | [5 empty] | 15 | [7 empty] | 40 | [7 empty] | 15 | [6 empty] | 43 | [6 empty] | 13 | [5 empty] | 43 |  |  |  |  | 15 |  |  |  |  | 43
[5 empty] | Postal Code | [5 empty] | 16 | [7 empty] | 41 | [7 empty] | 16 | [6 empty] | 44 | [6 empty] | 14 | [5 empty] | 44 |  |  |  |  | 16 |  |  |  |  | 44
[5 empty] | Country | [5 empty] | 17 | [7 empty] | 42 | [7 empty] | 17 | [6 empty] | 45 | [6 empty] | 15 | [5 empty] | 45 |  |  |  |  | 17 |  |  |  |  | 45
[5 empty] | Enterprise Configuration: Contact Information | [5 empty] | 18 | [7 empty] | 43 | [7 empty] | 18 | [6 empty] | 46 | [6 empty] | 16 | [5 empty] | 46 |  |  |  |  | 18 |  |  |  |  | 46
[6 empty] | Laboratory Contact | IT Contact |  |  |  | 19 | [7 empty] | 44 | [7 empty] | 19 | [6 empty] | 47 | [6 empty] | 17 | [5 empty] | 47 |  |  |  |  | 19 |  |  |  |  | 47
[5 empty] | Name | [5 empty] | 20 | [7 empty] | 45 | [7 empty] | 20 | [6 empty] | 48 | [6 empty] | 18 | [5 empty] | 48 |  |  |  |  | 20 |  |  |  |  | 48
[5 empty] | Telephone Number | [5 empty] | 21 | [7 empty] | 46 | [7 empty] | 21 | [6 empty] | 49 | [6 empty] | 19 | [5 empty] | 49 |  |  |  |  | 21 |  |  |  |  | 49
[5 empty] | Alternate Telephone Number | [5 empty] | 22 | [7 empty] | 47 | [7 empty] | 22 | [6 empty] | 50 | [6 empty] | 20 | [5 empty] | 50 |  |  |  |  | 22 |  |  |  |  | 50
[5 empty] | Email Address | [5 empty] | 23 | [7 empty] | 48 | [7 empty] | 23 | [6 empty] | 51 | [6 empty] | 21 | [5 empty] | 51 |  |  |  |  | 23 |  |  |  |  | 51
[11 empty] | 24 | [7 empty] | 49 | [7 empty] | 24 | [6 empty] | 52 | [6 empty] | 22 | [5 empty] | 52 |  |  |  |  | 24 |  |  |  |  | 52
[11 empty] | 25 | [7 empty] | 50 | [7 empty] | 25 | [6 empty] | 53 | [6 empty] | 23 | [5 empty] | 53 |  |  |  |  | 25 |  |  |  |  | 53
[27 empty] | 26 | [6 empty] | 54 | [6 empty] | 24 | [5 empty] | 54 |  |  |  |  | 26 |  |  |  |  | 54
[27 empty] | 27 | [6 empty] | 55 | [6 empty] | 25 | [5 empty] | 55 |  |  |  |  | 27 |  |  |  |  | 55
[27 empty] | 28 | [6 empty] | 56 | [6 empty] | 26 | [5 empty] | 56 |  |  |  |  | 28 |  |  |  |  | 56
27
28
If Isloated Network
FALSE
[8 empty] | If Gateway IP address is Static | Gateway IP address | Isolated IP Address | Index | Data Source Name | Instrument Name | Instrument Type | PC Port to Instrument | Configuration Status | Required Parts | Comments | [8 empty] | Index | Data Source Name | Instrument Name | Instrument Type | Required Parts | Configuration Status | Comments | [18 empty] | Index | System Name | System Type | Manufacturer | Manufacturer
[8 empty] | FALSE |  |  | 1 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 1 | 0 | 0 | Select One |  |  | 0 | [8 empty] | Empower Database Name | Empower (Remote Advisor) Project Name | Empower Usurname (optional) Required for installation | Empower Password (optional) Required for installation | Configuration Status | [5 empty] | 1 | 0 |  |  | 0
[11 empty] | 2 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 2 | 0 | 0 | Select One |  |  | 0 | [8 empty] | Enter Database Name if using Empower Toolkit | Enter Project Name if using Empower Toolkit | 0 | 0 | [6 empty] | 2 | 0 | 0 | 0 | 0
[11 empty] | 3 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 3 | 0 | 0 | Select One |  |  | 0 | [7 empty] | Index | Waters Alliance or Acuity System Name | Empower Node Name (Lace) | Configuration Status | Comments | [6 empty] | 3 | 0 | 0 | 0 | 0
[11 empty] | 4 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 4 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 1 | 0 | 0 |  | 0 | [6 empty] | 4 | 0 | 0 | 0 | 0
[11 empty] | 5 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 5 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 2 | 0 | 0 |  | 0 | [6 empty] | 5 | 0 |  |  | 0
[11 empty] | 6 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 6 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 3 | 0 | 0 |  | 0 | [6 empty] | 6 | 0 | 0 | 0 | 0
[11 empty] | 7 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 7 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 4 | 0 | 0 |  | 0 | [6 empty] | 7 | 0 | 0 | 0 | 0
[11 empty] | 8 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 8 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 5 | 0 | 0 |  | 0 | [6 empty] | 8 | 0 | 0 | 0 | 0
[11 empty] | 9 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 9 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 6 | 0 | 0 |  | 0 | [6 empty] | 9 | 0 | 0 | 0 | 0
[11 empty] | 10 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 10 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 7 | 0 | 0 |  | 0 | [6 empty] | 10 | 0 |  |  | 0
[11 empty] | 11 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 11 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 8 | 0 | 0 |  | 0 | [6 empty] | 11 | 0 | 0 | 0 | 0
[11 empty] | 12 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 12 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 9 | 0 | 0 |  | 0 | [6 empty] | 12 | 0 | 0 | 0 | 0
[11 empty] | 13 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 13 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 10 | 0 | 0 |  | 0 | [6 empty] | 13 | 0 | 0 | 0 | 0
[11 empty] | 14 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 14 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 11 | 0 | 0 |  | 0 | [6 empty] | 14 | 0 | 0 | 0 | 0
[11 empty] | 15 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 15 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 12 | 0 | 0 |  | 0 | [6 empty] | 15 | 0 |  |  | 0
[11 empty] | 16 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 16 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 13 | 0 | 0 |  | 0 | [6 empty] | 16 | 0 | 0 | 0 | 0
[11 empty] | 17 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 17 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 14 | 0 | 0 |  | 0 | [6 empty] | 17 | 0 | 0 | 0 | 0
[11 empty] | 18 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 18 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 15 | 0 | 0 |  | 0 | [6 empty] | 18 | 0 | 0 | 0 | 0
[11 empty] | 19 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 19 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 16 | 0 | 0 |  | 0 | [6 empty] | 19 | 0 | 0 | 0 | 0
[11 empty] | 20 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 20 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 17 | 0 | 0 |  | 0 | [6 empty] | 20 | 0 |  |  | 0
[11 empty] | 21 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 21 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 18 | 0 | 0 |  | 0 | [6 empty] | 21 | 0 | 0 | 0 | 0
[11 empty] | 22 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 22 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 19 | 0 | 0 |  | 0 | [6 empty] | 22 | 0 | 0 | 0 | 0
[11 empty] | 23 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 23 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 20 | 0 | 0 |  | 0 | [6 empty] | 23 | 0 | 0 | 0 | 0
[11 empty] | 24 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 24 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 21 | 0 | 0 |  | 0 | [6 empty] | 24 | 0 | 0 | 0 | 0
[11 empty] | 25 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 25 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 22 | 0 | 0 |  | 0 | [6 empty] | 25 | 0 |  |  | 0
[11 empty] | 26 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 26 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 23 | 0 | 0 |  | 0 | [6 empty] | 26 | 0 | 0 | 0 | 0
[11 empty] | 27 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 27 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 24 | 0 | 0 |  | 0 | [6 empty] | 27 | 0 | 0 | 0 | 0
[11 empty] | 28 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 28 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 25 | 0 | 0 |  | 0 | [6 empty] | 28 | 0 | 0 | 0 | 0
[11 empty] | 29 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 29 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 26 | 0 | 0 |  | 0 | [6 empty] | 29 | 0 | 0 | 0 | 0
[11 empty] | 30 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 30 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 27 | 0 | 0 |  | 0 | [6 empty] | 30 | 0 |  |  | 0
[11 empty] | 31 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 31 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 28 | 0 | 0 |  | 0 | [6 empty] | 31 | 0 | 0 | 0 | 0
[11 empty] | 32 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 32 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 29 | 0 | 0 |  | 0 | [6 empty] | 32 | 0 | 0 | 0 | 0
[11 empty] | 33 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 33 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 30 | 0 | 0 |  | 0 | [6 empty] | 33 | 0 | 0 | 0 | 0
[11 empty] | 34 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 34 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 31 | 0 | 0 |  | 0 | [6 empty] | 34 | 0 | 0 | 0 | 0
[11 empty] | 35 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 35 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 32 | 0 | 0 |  | 0 | [6 empty] | 35 | 0 |  |  | 0
[11 empty] | 36 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 36 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 33 | 0 | 0 |  | 0 | [6 empty] | 36 | 0 | 0 | 0 | 0
[11 empty] | 37 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 37 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 34 | 0 | 0 |  | 0 | [6 empty] | 37 | 0 | 0 | 0 | 0
[11 empty] | 38 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 38 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 35 | 0 | 0 |  | 0 | [6 empty] | 38 | 0 | 0 | 0 | 0
[11 empty] | 39 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 39 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 36 | 0 | 0 |  | 0 | [6 empty] | 39 | 0 | 0 | 0 | 0
[11 empty] | 40 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 40 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 37 | 0 | 0 |  | 0 | [6 empty] | 40 | 0 |  |  | 0
[11 empty] | 41 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 41 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 38 | 0 | 0 |  | 0 | [6 empty] | 41 | 0 | 0 | 0 | 0
[11 empty] | 42 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 42 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 39 | 0 | 0 |  | 0 | [6 empty] | 42 | 0 | 0 | 0 | 0
[11 empty] | 43 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 43 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 40 | 0 | 0 |  | 0 | [6 empty] | 43 | 0 | 0 | 0 | 0
[11 empty] | 44 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 44 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 41 | 0 | 0 |  | 0 | [6 empty] | 44 | 0 | 0 | 0 | 0
[11 empty] | 45 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 45 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 42 | 0 | 0 |  | 0 | [6 empty] | 45 | 0 |  |  | 0
[11 empty] | 46 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 46 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 43 | 0 | 0 |  | 0 | [6 empty] | 46 | 0 | 0 | 0 | 0
[11 empty] | 47 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 47 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 44 | 0 | 0 |  | 0 | [6 empty] | 47 | 0 | 0 | 0 | 0
[11 empty] | 48 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 48 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 45 | 0 | 0 |  | 0 | [6 empty] | 48 | 0 | 0 | 0 | 0
[11 empty] | 49 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 49 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 46 | 0 | 0 |  | 0 | [6 empty] | 49 | 0 | 0 | 0 | 0
[11 empty] | 50 | 0 | 0 | Select One | 0 |  |  | 0 | [8 empty] | 50 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 47 | 0 | 0 |  | 0 | [6 empty] | 50 | 0 |  |  | 0
[27 empty] | 51 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 48 | 0 | 0 |  | 0 | [6 empty] | 51 | 0 | 0 | 0 | 0
[27 empty] | 52 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 49 | 0 | 0 |  | 0 | [6 empty] | 52 | 0 | 0 | 0 | 0
[27 empty] | 53 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 50 | 0 | 0 |  | 0 | [6 empty] | 53 | 0 | 0 | 0 | 0
[27 empty] | 54 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 51 | 0 | 0 |  | 0 | [6 empty] | 54 | 0 | 0 | 0 | 0
[27 empty] | 55 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 52 | 0 | 0 |  | 0 | [6 empty] | 55 | 0 |  |  | 0
[27 empty] | 56 | 0 | 0 | Select One |  |  | 0 | [7 empty] | 53 | 0 | 0 |  | 0 | [6 empty] | 56 | 0 |  |  | 0
[41 empty] | 54 | 0 | 0 |  | 0
[41 empty] | 55 | 0 | 0 |  | 0
[41 empty] | 56 | 0 | 0 |  | 0
1100 or 1200 LC
1100 or 1200 LC with G1315C/D DAD or G1365C/D MWD
1120 Compact LC
Single Quad LCMS with 1100 or 1200 LC
Single Quad LCMS with 1100 or 1200 LC and G1315C/D DAD or G1365C/D MWD
QQQ LCMS G6410A/B with 1100 or 1200 LC
QQQ LCMS G6410A/B with 1100 or 1200 LC and G1315C/D DAD or G1365C/D MWD
6890 Networked GC
6890 Networked GC with 5973N or 5975 MS
7890 GC
7890 with 5973N or 5975 GC/MS