                                                                        



LC/MS Installation Feedback Form
Please fill in the following information on the installation of the LC/MS system.

	Instrument S/N:
	 

	Instrument Model #:
	 

	Site Name:
	 

	Country:
	

	Date of Installation:
	 

	FSE Name:
	 


	1. Were any parts missing in the shipment?  If yes, please list the missing parts.
	 

	2. Was there any shipping damage?  If yes, please describe the damage.
	 

	3. How much time was required to install the hardware components (LC, LC/MS, Data System, not including overnight flushing and sensitivity checkout)?
	 

	4. How much time was required to run and pass the sensitivity checkout?
	 

	5. How much time did you spend delivering Familiarization?
	 

	6. What was the passing signal-to-noise value (in MS and MS/MS Mode, if applicable)?
	 

	7. How many times did you need to run the sensitivity checkout before it passed?
	 

	8. For 6490 QQQ, what was the signal-to-noise value (MRM Mode) for the 0.1 ul injection series?
	

	9. For TOF/QTOF:  What was the passing mass accuracy value (in MS and MS/MS Mode, if applicable)?
	 

	10. For TOF/QTOF:  What was the passing resolution value?
	 

	11. Was IQ//OQ delivered as part of the installation?
	


Please describe any problems that you encountered during the installation, including  site readiness issues, instrument failures, background contamination, difficulty passing sensitivity checkout, etc.:
Ver. 7.0, November 2010
Page 1 of 2

