As you prepare for a run and during a run, you want to see the actual values of the instrument parameters. You can do this in the Instrument Status pane. a Right-click the Actuals list to see the Setup command. 

b Click Setup to bring up the list of Actuals available for monitoring. 

This is where you can monitor Pump Ripple. Along with Not Ready Info for each Module.