	
	Contributed Library for HPLC ChemStation




Macros

Document Information:
	Document:
	Index file for the Macro subdirectory

	Library Revision:
	Library  C.01.0x

	
	

	
	

	
	


Tested with :

	Testing Date
	ChemStation Revision

	January 27, 2004
	ChemStation B.01.01

	March 29, 2005
	ChemStation B.01.03

	January 9, 2006
	ChemStation B.02.01

	January 11, 2007
	ChemStation B.03.01

	December 12, 2007
	ChemStation B.03.02

	September 22, 2008
	ChemStation B.04.01

	August 31, 2009
	ChemStation B.04.02

	April 20, 2010
	ChemStation B.04.02 SP1

	February 24, 2011
	OpenLAB CDS ChemStation Edition C.01.0x

	May 26, 2011
	OpenLAB CDS ChemStation Edition C.01.03


Cont.
Origin

Number
Date
Function


--------------------------------------------------------------------------------------------------------------

1          
05/07/94      'ArrangeWindows' command to set up and arrange a text editor and the ChemStation for macro development. See readme.txt
2          
13/02/93      Load Maximum Chromatogram from DAD spectral matrix. 



See readme.txt
3           
20/03/93      Transform chromatographic signals, in both the RT and response  format, by a factor and additive constant (y = mx + c).



See readme.txt
4          
07/04/98      Extracts a chromatographic signal from the spectral data of the loaded data file. The macro provides a user interface for the LoadChrom command. See readme.txt
5             
01/08/01      
A set of advanced macro tools for selecting, arranging, manipulating and viewing the ChemStation’s chromatographic, spectroscopic and configurational information. See readme.txt
6        
15/01/01      Example macro to allow subtraction of a designated blank data file from the current  data file (include WPS). See readme.txt



7             
31/08/09      Macro to slowly modify pump flow. See readme.txt
8          
31/08/09      Macro to let an 1100 quaternary pump system slowly reach desired composition and flow conditions. See readme.txt
9         
10/10/96      Toggle manual integration annotations on/off. See readme.txt
10
06/10/97      Sequence Chaining Macro. See readme.txt
11  
09/06/98
GLPSave Register Versioning. See readme.txt
12   
18/01/00       Exports 3d DAD1.UV to MS Excel compatible 

                                        
comma-separated value file. See readme.txt
13
30/07/01
Macro to save the Thermostatted ALS temperature as part of the method. See readme.txt
14
16/07/03
Macro to generate data files to allow tracing "instrument curves", even if no detector is attached. See readme.txt
15
28/07/03
Macro to allow the use of the Hypersequence without using the Well-Plate Handler. See readme.txt
16
13/02/95
Macro to generate customized report layout with system suitability information. See readme.txt
17
22/09/08
Macro to modify the naming of new generated XML files for a remote directory (see XML interface guide). See readme.txt
18
31/08/09
Macro to print valve positions on report header of ChemStation report See readme.txt
19
19/04/04
Macro to print Symmetry values on screen and performance reports. See readme.txt



20
11/12/07
Macro to change the ReportFontSize entry in ChemStation.ini. See readme.txt



21
04/20/10
Macro to import the LC Column Catalog. See readme.txt



	Date Printed: 5/26/2011
	Agilent Technologies       
	Printed Copies are Uncontrolled
	Page 2 of 2



