[image: image1.png]Instrument 3 (offline 1): Data Analysi

Fie Graphics Integration Eahhvahan Bepot_Spectia Baich Adddn View Abart Help

[_[CIx]

Data Aribsis MSPURITY.D \0 MSCALM (] || Intearation / Repart
(Tl 'L e e (P A
ETT— - e

I WSD1275, E16-276.72707 (MSDEMOWSPURITYD) Sove | Bun |NewFie| DelMankv | Hop | Clse |
#_Compound Sel
T el %
z peaki
3 ook
3 peskt
z 22 24 25 25 3 o
501 260, 1627072607 (MSDEMBWSFURITY.0) (=
Lt
il
3 22 24 25 28 5| 1:"
501 261, E16-2506.261 8 (SDEMBWEFURITY.0) =)
#__ Name Value Exp% Actz Amount  |[E)
H T Feutine 2 1530
7 Compaund pesid]
3 Bbundaree st
o i Taglon Z7s] 00 1]
g 5| Gusl lont 20| Taes| 22l <
& uslond Z11[ 528 b81] )
: 22 24 25 25 T o) 7 Gueliond
1) 0j
g Start| 2inbox - Microsaft Out..| (IFATempimustangeal | SIFA | @ swichonc: [Z nstrument 3 (off... B Mictosoft Ward - cal..| [ IEHOE 812





Open Qedit from [Addon] + [MS_Qedit] + [Qedit]

Select the file to work with.

Qedit shows the target and qualifier ions (Ions used to calculate ISTD values will not be shown here)

The lower right table shows the compound details.

Target and qualifier ions can be manually integrated. The integration events will be written to the data file. 

Press [Save] to save the manual integration events and to calculate the result new.

An indication for the quality of the qualifiers can be found in the column Amount.

Press [Run] to scroll through all compounds in the list.

