# MassHunter Workstation Acquisition for 6400 Series Triple Quad

# LC/MS version B.05.00 Service Pack 2

Agilent Technologies

July 2013

# New Features

- DA Support with no “Communication Loss”

# Defect Fixes

The list of defects that were fixed as part of SP2 is as below-

## QQQ Defects

| # | Team Track | Description |
| --- | --- | --- |
|  | 207859 | Autotune fails to set Mass Axis within specification limit for Wide and Widest Resolution Modes For 6420, 6430 and 6460 models |
|  | 201338 | Manual Tune does not always apply Mass Filter parameters - presents as defective hardware! |

## Core Defects

| # | Team Track | Description |
| --- | --- | --- |
| 1 | 189907 | Missing TIC Information Sometimes in Real Time Plot But in Data Observed in B.05.00 and B.06.00 (Picard Core) |
| 2 | 199825 | Add Multiple Samples for HTC/HTS Sampler VT98 graphic is not correct |
| 3 | 198330 | Acquisition Time Stamps not always recorded at start of data acquisition |
| 4 | 192780 | Offline Method Editor creation uses online Driver |
| 5 | 189904 | When “MassHunter Offline Method Editor Version B.05.00” is started while a data acquisition run is ongoing, acquisition is stopped! (Partial fix: QQQ driver changes are also needed) |

# Instructions

- Copy executable (*.exe) to the local Hard Disk Drive (HDD)

- Right mouse click "Run as administrator".

- Installation will install the patch software.