34830A
BenchLink Data Logger Pro for 34970A and 34972A Errata




            

· Fixed current channel labeled incorrectly as VDC on Quick Graph (Rleas00003443)

·  Fixed system crash when doing a fast scan with Quick Graph on ( Rleas00003608) 

· Configuration settings are now saved after a program crash (Rleas00003639)
· The term 'Action Script' must be removed from Data Logger software, documentation and datasheet (Rleas00003613).

· When choose External Trigger for Start Scan, having Time Interval is confusing customers (Rleas00003617)

· Fixed 10 Mohm range not properly selected ( Rleas00003515)

· Fixed Equation validation doesn't validate infinite loop problem( Rleas00003454)

· Strip chart can now be done in Japanese version(Rleas00003455)

· Fixed condition causing a query interrupt error(Rleas00003564)

· Using set DAC volt option on DAC write Module 907 Ch 205 DL doesnot send command to set ZERO(Rleas00003795)

· Missing Chinese characters display(Rleas00003719)Hotfix
· Quickgraph is not working correctly (Rleas00003760): We gave explanation that it is not a defect and support has to prepare FAQ on it.
· Reduced CPU space required to run( Rleas00003268)

· "System.OutOfMemoryException" error (Rleas00003451)

· Memory drag slowing BLDL software(Rleas00003767)
· Scan of sequential resistance channels errors during download of scan(Rleas00003819)

34832A BenchLink Data Logger Pro for 34980A Errata
· Reduced CPU space required to run( Rleas00003268)

· Fixed Equation validation doesn't validate infinite loop problem( Rleas00003454)

· Strip chart can now be done in Japanese version(Rleas00003455)

·  Removed time Interval selection when using external trigger (Rleas00003617) 

· No longer sends SYST:CDES? 34980A only command to 34972A(Rleas00003768) 

·  Trial version expires when re-install software(Rleas00003217 )


· Fixed 10 Mohm range not properly selected ( Rleas00003515)

· Missing Chinese characters display(Rleas00003719) Hotfix
· Quickgraph is not working correctly (Rleas00003760): We gave explanation that it is not a defect and support has to prepare FAQ on it.

· "System.OutOfMemoryException" error (Rleas00003451)

· Memory drag slowing BLDL software(Rleas00003767)

· Scan of sequential resistance channels errors during download of scan(Rleas00003819)

