## Slide 1
Agilent Triple Play Analyzer
Technology to quickly solve problems in today’s complex Triple Play networks
Triple Play Lab

## Slide 2: Goals…..
How to use the tool
    Configuration
    Data Capture Modes
    Thresholds\Events\Actions
    Logging
    Measurements
To Make you comfortable using the tool
Get the tool to find errors for you (the customer)
    Answer error questions
Wow, Cool, Wiz bang Factors
    What captures the ‘eye’ and what customers remember!
    Hardware

## Slide 3: Configuration
Master Configuration selected from the Application by selecting the
Which opens:

## Slide 4: General Config & MPEG-TS Config

## Slide 5: RTPConfig & RTP Gateway Config

## Slide 6: How to use the tool….
Real-time Measurements:
    DNA PRO RTSM, MU and TPA
    Network Interface Card (NIC)
Post Process
    Store Data in real-time mode
    Replay the data in TPA
    Convert and Open the Data in NA

## Slide 7: Real-time Measurements: (Configuration)
    DNA PRO RTSM, MU and TPA

## Slide 8: Real-time Measurements: (Configuration)
    Network Interface Card

## Slide 9: Real-time Measurements: (Configuration)
    Network Interface Card (Filters)

## Slide 10: Post Process Measurements: (Configuration)
    Store Data in real-time mode

## Slide 11: Post Process Measurements: (Configuration)
    Replay the data in TPA

## Slide 12: Post Process Measurements: (Configuration)
    Convert and Open the Data in NA

## Slide 13: Threshold (Configuration)

## Slide 14: Event (Configuration)

## Slide 15: Action (Configuration)

## Slide 16: Logging Configuration

## Slide 17: Triple Play Statistics View
Video, Voice & Data all in one view
Protocol Utilization
Service Distribution
    Overview of Data Stats
    Overview of MPEG-TS Stats
    Overview of RTP Video & Voice Stats

## Slide 18: RTP Statistics View
Audio Measurements
    Jitter, MOS, R factor, Throughput, Payload type, Loss, Delay, Real-time Audio output , etc.
Video Measurements
    Jitter, Holes (RF3357), MDI (DF & LR), Throughput, CBR, Loss, Out of Sequence, etc.

## Slide 19: MPEG Transport Stream View
(Transport Stream & Program Statistics)
MDI Delay Factor & Lost Rate (Min, Max & Avg.)
PAT & PMT Rate, Errors, etc. (PSI) (Min, Max & Avg.)
PCR Rate, Errors, etc (Min, Max & Avg.)
Spurious Packets (Min, Max & Avg.)
Sync Byte Errors (Min, Max & Avg.)
CAT Errors (Min, Max & Avg.)
Throughput (Min, Max & Avg.)
Etc.

## Slide 20: MPEG Transport Stream View
(PID statistics) All values are per PID
Throughput (Min, Max & Avg.)
CC Errors
Lost Packets (Min, Max & Avg.)
PID Dropouts
Duplicate Packets
Rendering of Real-time Video and Audio
Etc.

## Slide 21: MPEG PES Video Statistics View
Aspect Ratio
Video MOS Degradation
GOP Pattern (length, matches, mismatches)
Frame Statistics (Throughput (Min, Max & Avg.), Loss, etc) for I, B and P frames types
Rendering of Video in Native size

## Slide 22: Video Control Statistics View
Viewers (STB’s)
Ladder diagram (shows Joins, Leaves, RTSP commands (Play, Pause, Fast Forward, Rewind and Stop)
MSTV ICC and IPTV Zap response times (Min, Max & Avg.)
Min, Max and Avg. for Failed Joins, Leaves, etc.

## Slide 23: Active IGMP Statistics View
Multicast Groups
Ladder diagram (shows Joins, Leaves, RTSP commands (Play, Pause, Fast Forward, Rewind and Stop)
Displays the following measurement values:
Viewers, Joins, Failed Joins, Leaves, Group-Specific Queries, Unanswered Queries, Zap Time and Response Time

## Slide 24: Network Vitals Statistics View
IP specific Measurements:
ARP Packets, Broadcasts Throughput, Multicast Throughput, TTL, etc.

## Slide 25: Practical…..
Connect to a DNA Pro via MU Server and make the following measurements:
PCR Jitter
CC Errors
MDI LR
Out of Sequence Packets
Max Zap response
STB Buffer size needed
GOP Pattern

## Slide 26: Practical…..
Connect via a NIC and perform the following:
Setup a Threshold, Alarm and Event
I Frame, B Frame or P Frame Lost Packets
MOS Degradation for a Stream
Render the Video Native Size
Render Video & Audio
Multicast Utilization
VoIP MOS score
Capture Data in TPA then in Post Process mode replay the data in TPA.
Convert the Data and open in NA

## Slide 27: So what did you find?
PCR Jitter
CC Errors
MDI LR
Out of Sequence Packets
Max Zap response
STB Buffer size needed
GOP Pattern
Setup a Threshold, Alarm and Event
I Frame , B Frame or P Frame Lost Packets
MOS Degradation for a Stream
Render the Video Native Size
Render Video & Audio
Multicast Utilization
VoIP MOS score
NA Decodes, Splice Point CC values, etc.

## Slide 28: Wow, Cool, Wiz bang Factors
Measurements done on all Data, Voice and Video at once. (TPA)
Rendering of Native Size Video, GOP Pattern and Frame Type Loss (QoE) (MPEG PES Measurement)
Rendering of Video and Audio (MPEG-TS)
Zap Diagram and Response
Find an Error or something that should not be there…
      A PIP
      A CC Error
      PCR Jitter
      Packet Loss