	[image: image12.jpg]Agilent Technologies




	Life Sciences and Chemical Analysis Lifecycle

Software Test Case



Mini TD Screen Traversal Test

1. Document Information:

	Filename
	Traversal_TestCase_ Mini TD.docx

	Revision
	Initial Revision

	Current Owner
	

	Product Identifier
	Mini TD

	Project Identifier/Rev.
	Orchid


2. Result Summary:

	Result
	
 ☒ Pass
☐ Pass w/E      ☐ Fail

	Tester (printed)
	Yan Ren

	SW Build Number(s)
	MassHunter B.07.00

	OS / OS Language
	Win7 64bit/EN

	PC Model / PC Name
	Hp 7900/admin

	Start/End Date
	2012/12/19

	Cycle Number
	1
	Time to Complete
	2h

	Team Track Entry #

(if applicable)
	Function
	

	
	Garbage
	

	
	Unstranslation
	

	
	Mistranslation
	

	
	Truncation
	

	
	Cosmetic
	

	
	Other
	


3. Signatures:

Executed by:

	
	
	2012/12/19

	Signature
	
	Date (yyyy/mm/dd)


Reviewed by:

	
	
	

	Signature
	
	Date (yyyy/mm/dd)


4. Test Log
<copy the previous Result Summary table here>
5. Revision Log:
	Rev.
	Date

(yyyy/mm/dd)
	Reason For Update
	Updated

	1.0
	2012/12/19
	Initial Revision for Orchid Screen Traverse Test
	Yan Ren

	
	
	
	

	
	
	
	

	
	
	
	


6. Review Log:
	Review Date

(yyyy/mm/dd)
	Reviewers

	2012/12/19
	Steven Sun

	
	

	
	


7. Purpose and General Procedure:

This Test Case tests the overall localization of every window and pane in Mini TD software product.
1) Verify all menus/pane/dialog/icon/ listed in this document. Then click to open further dialog/window if applicable and verify the content.

2) After Opening each dialog/window, take the curser on the heading/toolbar/icon of the pane and verify that the tool tip for each item is localized.
3) Click More… button or press F1 button to show online help in each window /dialog. Check completeness and understandability of help during execution of the test case.
8. Test Case Procedure for Install MassHunter with The Latest Version (Steps):

	Step
	Test Procedure
	Comment / Result

	8.1 Installation

	
	Installation Agilent MassHunter GCMS Data Acquisition B.07.00 

	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail


9. Test Case Procedure for Instrument Configuration (Steps):
	Step
	Test Procedure
	Comment / Result

	9.1 GC/MS Instrument Configuration

	
	Double click the icon of Agilent GC/MS Configuration>> 
[image: image1.png]File Configure Help

12342
- Brecute

Current Agilent GC/MS Instrument Configuration

‘Avaiable
a3 s €= oc P

<none>

<none>

<none>

Welcome to the Agilent Technologies GC/MS Instrument Configuration Guide!





Configure >>instrument 1

Input the Model and Address of the GC and MS

[image: image2.png]Agilent GC/MS Instrument Configuration

Instument Name ~ GCMS
Laboratory ID Number
[7] Offine Instrument

Mass Spectrometer

o DC Polaty
575 =
Address © Negative ©)
141188128146

Gas Chromatograph
o i s
=
Naseizeiel |

<none>

Woriow Mode:





	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail


	Step
	Test Procedure
	Comment / Result


9.2 Update GC/MS Instrument Configuration
	
	Update Configuration

[image: image3.png]Proceed with update to Instrument Configuration?

e ——]

Update Configuration





[image: image4.png]File Configure Help

12342
- Brecute

Current Agilent GC/MS Instrument Configuration

‘Avaiable
a3 s €= oc P

<none>

<none>

<none>

Welcome to the Agilent Technologies GC/MS Instrument Configuration Guide!





	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail


10. Test Case Procedure for Mini TD UIs (Steps):
	Step
	Test Procedure
	Comment / Result

	10.1  Inlet and Injection Parameters

	
	Instrument>>Inlet/Injection Types

[image: image5.png]Inlet and Injection Parameters.

i

Use M.





	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail


	Step
	Test Procedure
	Comment / Result

	10.2  Select Monitors

	
	Instrument>>Edit Monitors>>Add
[image: image6.png]5 Select Monitors.

S

Available Monitors.

APC1A Pressure.
APC-1B Pressure.
APCIC Pressure.
APC2A Pressure.
APC28 Pressure.
APCC Pressure.
APC3A Pressure.
APC38 Pressure.
APCC Pressure.
A3 Temperature.
Colison Flow
Column 2 Flow Cal.
Column 3 Flow Cal.
Column-4 Fow Cal.
Column 5 Flow Cal.
Column 6 Flow Cal.
Det B Fuel Flow
Det-8 Makeup Flow
Det-8 Temperature.
Det-B Ul Fiow
DetF Fuel Flow.
Det F Makeup Flow
Det F Tempersture
Dot Uti Flow
Ilet8 Pressure.
let8 Temperaturs
Ilet8 Total Fow
IletF Pressure
IletF Total Fow.
LTHH1 Tempersture:
LTH2 Tempersture:
LTH3 Tempersture:
(TN Tempersture:
LTM lsoThemal
PCH-1A Pressure.
PCH-TB Pressure.
PCM2A Pressure.
PCI28 Pressure.
PCM3A Pressure.
PCI3B Pressure.
Quench Flow
Valve 1

Valve 2

Valve 3

Valve 4

Valve 5

Valve §

Valve 7

Valve 8

NS Amu Gain

WS Amu Ofiset

Ms Cl

WS Ci Calbration Valve:
MS CiGasA

WS C1GasB

WS Cl Gas Fowrate
WS Ci Shutoft

8883388835888353883838838588388883888838888885888

Selected Monitors.

[GC ket Temperature
GC Column-1 Flow Cale.

Add —> GC LTM Tempersture:

GC_WISD Transferine.
— Remove |GC Wi TD Sample Flow
Reset to Defaut.

Lo ] (o] (o]





	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail


	Step
	Test Procedure
	Comment / Result

	10.3   Configuration of Modules

	
	Instrument>>GC parameters>>Configuration>>Modules 
[image: image7.png][Seral Number: CN12345678
|Fimware Revision: A.03.04.004.RC2
|Scftware Diver Version: 5.01 [047]
[Mini TD Firware Revision: A.03.00

IPC Clock: 9/19/2012 3:23:56 PM
IGC Connection Sate: Online.

IGC Runstate: ide
[Miri TD Run State: Ide

IGC Ready State: Not Ready.
Host: Not Ready

[Mini TD Ready State: Not Ready
‘Carer Gas : Flow Not Ready
IS5 et
Temperaure: 328°C
Pressure: 10.000 psi
Fow: 1415mLmin
‘Septum Purge Fow: 3.0mLinin

lsthermal Oven Temperature: 414 °C
IMSD Transfer Line Temperature: 250.0 °C

M D
Transier Line Temperature: 270 C
Valve Box Temperature: 275 T
Tube Temperature: 237 C
Carir Gas Fow: 0.0 mLmin

(Column Flows:

Column 1: 1.372mL/nin

iscelneous | Cons FEAIES | s

. o bz e
S
40 8 - Column 1 He: mLfmin
.
30 6 i~
v 0 5
@ * 04
10 2 02
. o b
s e m m = o m w w w B w w o m m m w
Run Time, min
e i O @ X |4 &
|Agient 5975 at IP Address: 141.188.128.147 AL MiniTD Inlets Colmns Heafers Events Signals | Configuration | Couniérs Readiness GC Calculators

=
e —
cw

e

323PM

26 gromo




	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail


	10.4   Online Sampling Mode

	
	Instrument>>GC parameters>>Mini TD>>Online sampling Mode [image: image8.png]w o lz e
L —coum e
40 8 (=== Column 1 He: mLjmin
e
© . 2
9 B losy
= PR
w© o
o o Lo
o ® i i w0 ® a0 @ w0 @ w0 S 0 & 70 7H  wo @ 0 o

Run Time, min

i O 2. X A @ B

TD | Inlets  Columns Heaters Events Signals Configuration  Counters Readiness  GC Calculators

[ Of =

|Aglert 5975T at IP Address: 141.188.128.147 ALS | Mir
[Seral Number: CN12345678

|Fimware Revision: A.03.04.004.RC2
|Scftware Diver Version: 5.01 [047]

Ena s SOl One Stage Thermal Desorber [ Model Number: G4370M |

IPC Clock: 9/19/2012 1:3023 PM Select Operaton Mode: (Onine Samping Mods_+
IGC Conneion State: nine:

bl Sale Ove bl Lesk Dtecton
|GC RunState: Ide a = a

[Miri TD Run State: Ide ¢ i
IGC Ready Stte: Not Ready Setpoint Actual

o o Seet el -
= i masen OTeToms: [0 e

[Vini TD Ready State: Not Ready ‘Sampling Flow: S0mL/min OmLmin Setpoint Actual
‘Carer Gas : Fow Not Ready
1SS Ikt
Temperature: 28.8°C ‘Sampling Time: 2mn
Pressure: 10.000psi
Flow: 141.3mLmin
Septum Purge Fow: 3.0mL/min R (Omin

[7] Carer Flow: 10mUjmin OmLi

[50mUmin OmLmin

1 min

lothermal Oven Temperature: 359 °C
IMSD Transfer Line Temperature: 250.0 °C

Enable Pump > ()
Ramp 1

|Min 7D
Transier Line Temperature: 26.6 °C
Valve Box Temperature: 274 C Cleaning General
Tube Temperature: 234 C
Carir Gas Fow: 0.0 mLmin ] Ensble Glean Setpoint Actual
(Column Fows:
‘Column 1: 1.375 mL/min Setpoint Actual [ MerLine Temp: 40°C 66T

[7] VaiveBox Temp: @t 274C

BT (R4





	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail


	Step
	Test Procedure
	Comment / Result

	10.5 
	Desorbing Mode
	

	
	Desorbing Mode [image: image9.png]12 [—imecr
| — Column 1 He: psi
o 8 = Colun 1 Hes mnin

El 63
E 4

el 10

oc
I
A

10 2 0z

0 s 100 150 20 2% 30 30 400 450 SO0 S0 600 eSO 700 750 60 850 900 950
Run Time, min

0P8 X A H

|Agient 5975T at IP Address: 141.188.128.147 ALS | MiniTD | Inlets Columns Heaters Events Signals  Configuration  Counters  Readiness  GC Calculators
|Serial Number: CN12345678

|Fmware Revison: A.03.04.004 RC2
|Scftware Drver Version: 501 [047]

Ena s SOl One Stage Thermal Desorber [ Model Number: G4370M |

IPC Clock: 9/19/2012 1:5038 PM ‘Select Operaton Mode:
[6C Connection Stte: Onie.

[ Of =

[7] Enable Leak Detection
IGC Runstate: ide

[Miri TD Run State: Ide . B &
IGC Ready Stte: Not Ready S &)

Host: Not Re:
ady ] Enable Dry Purge. ] T Ter: T . [7] Enable Clean

[Mini TD Ready State: Not Ready Setpoint Actual Set
‘Carier Gas : Flow Not Ready Carter mLmin mlmin

o [ Camer Fow: % OnLi o
Temperature: 304 T
Presaur: 10.000psi

Fow: 141.7mLmn

Septum Purge Fow: 3.0mLimin

scthermal Oven Temperature: 350°C
[MSD Transfer Line Temperature: 250.0 'C > (niia) 2 2
Ramp 1 20 3 63

|Min 7D
Transier Line Temperature: 26.6 °C
Valve Box Temperature: 27.4 C General
Tube Temperature: 234 C
Carir Gas Fow: 0.0 mLmin Setpoint Actual
(Column Fows:
‘Column 1: 1.373 mL/min [ MerLine Temp: 40°C 66T

[50mUmin OmLmin

[ Injection Start Time: [2min

1 min

[7] VaiveBox Temp: @t 274C





	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail

	
	
	

	10.6 
	Conditioning Mode
	

	
	Conditioning Mode [image: image10.png]el

W

El

°C

E

10

o 12
. 1

08
© 8 los
N 04
2 02
o o

o = w0 1 a0 20

a0 0 400 450 S0 ss eo0 s 700 750
Run Time, min

i

ssa sm 9%

—tmecr
— Column 1 He: psi
Column 1 He: mlfmin

A

[ Of =

|Agient 5375T at IP Address: 141183128147
[Seral Number: CN12345678

|Fimware Revision: A.03.04.004.RC2
|Scftware Diver Version: 5.01 [047]

[Mini TD Firware Revision: A.03.00

IPC Clock: 9/19/2012 1:31:52 PM
IGC Connection Sate: Online.

IGC Runstate: ide
[Miri TD Run State: Ide

IGC Ready State: Not Ready.
Host: Not Ready

[Mini TD Ready State: Not Ready
‘Carer Gas : Flow Not Ready
IS5 et
Tempersture: 283°C
Pressure: 10.000 psi
Fow: 141.8mL/min
‘Septum Purge Fow: 3.0mL/nin

lsthermal Oven Temperature: 36.2°C
[MSD Transfer Line Temperature: 250.0 °C

|Min 7D
Transier Line Temperature: 26.6 °C
Valve Box Temperature: 27.4 T
Tube Temperature: 234 C
Carir Gas Fow: 0.0 mLmin
(Column Fows:
Column 1: 1.375mL/nin

i O

S dsb) b &L 2 b &5
‘One Stage Thermal Desorber [ Model Number: G4370M |
St e
. -
S e
Condition Flow: 50 mL/min 0 B x W ks
Condiion Tine: o [ VaveBoxTep:  [40°C
e O oo

8. X

. B

Counters  Readiness  GC Calculators

Actual
6T

274





	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail


	Step
	Test Procedure
	Comment / Result

	10.7   Configuration of Agilent 5975T

	
	Instrument>>GC Configuration>>Configuration 
[image: image11.png]Agilent 5975T

Connection| Corfiguration

GC Niame 181.168.128.147 Notes

Keypad Lock Keypad s neverlocked -
Prep Run on Manual Request

|GC Configuration

Verson MMONATM2

[Boct Loacer BLORLTM2

|Appiication A03.04.004 RC2

(Cryo Type: Unspectfied

loven

[Votage Unknown

Tpe. Fat

(Cotroler

liode cam

[Fmuere Reviion Aoz

s 7D

iode caarom

e Reviion At300

Vanfactumg D Chi2a4s67e

Front et

Tpe. S5 et

(Cryo Not present

scthema Oven Presert

[MSD Transer Lne Presert

oK





	 FORMCHECKBOX 
Pass    FORMCHECKBOX 
Fail


	Revision: A.01.01
	Test Case: Mini TD Screen Traversal Test
	Page 1 of 8

	Agilent Technologies Confidential1
	Date Printed: 12/19/2012



[image: image12.jpg]